Ref	The Hazard
	Consequences of Event Happening
	Initial Risk	Risk Control Plan (short term / long term solution; 
Who & By When)
	Assessment of Risks with Controls	New Level of Risk	
		How Severe	How Likely			How Severe	How Likely		
									
1 

	E7B 105/106 - No laser interlock or laser warning signs.

Need to identify laser type and wavelength	2	1	Very Low	E. Goldys to work with ICS OHS committee to install laser door interlock system and upgrade signage.	0	0	0	
2.

	E7B 105 /106 - 
Laser goggles not clearly identified / labelled	2	1	Very Low	E Goldys to ensure laser goggles are clearly marked and located on nearest wall to entrance door (example – CUDOS Labs)	0	0	0	
3.

	E7B 105 -
Power cables at rear of optical table pose trip hazard	2	1	Very Low	E Goldy to re-locate cable to reduce hazard	0	0	0	
4.

	E7B 105 / 106 -
Inadequate Emergency Exit Signage and lighting	3	1	Low	E Goldy to ask L Kerr to seek advice from OFM.

Dean to approve resources if needed.	0	0	0	
5.

									
6.