Ref	The Hazard
	Consequences of Event Happening
	Initial Risk	Risk Control Plan (short term / long term solution; 
Who & By When)
	Assessment of Risks with Controls	New Level of Risk	
		How Severe	How Likely			How Severe	How Likely		
									
1 

	Storage of optical railand table in Entry Annex.

Storage of table and rubbish in Entry Annex	2	1	Very Low	E Goldys to relocate	0	0	0	
2.

	Inadequate lighting 	3	1	Low	E Goldy to ask LK to have OFM measure light levels against Australia Standard.

Dean to approve resources required to fix problem.	0	0	0	
3.

	No laser warning light / door interlock	2	1	Very Low	E Goldy to co-ordinate installation of system when designed and built	0	0	0	
4.

	Vacuum pump venting into room	2	1	Low	Relocate vacuum system / pump to E7B 113	0	0	0	
5.

									
6.