Ref	The Hazard
	Consequences of Event Happening
	Initial Risk	Risk Control Plan (short term / long term solution; 
Who & By When)
	Assessment of Risks with Controls	New Level of Risk	
		How Severe	How Likely			How Severe	How Likely		
									
1 

	E7B – 204
No emergency lighting or door signage	3	2	Low	J Downes to submit work request with OFM requesting advice on emergency lighting / signage needs and implement solution/s.	0	0	0	
2.

	E7B – 204
No emergency telephone 	3	2	Low	J Downes to approach L Kerr to arrange for installation of an emergency telephone	0	0	0	
3.

	Install door interlock system utilising new laser system	2	1	Very Low	J Downes to co-ordinate installation of door interlock system with purchase of new laser system.	0	0	0	
4.

	No RCD’s installed on circuits in the laboratory 	3	2	Low	Dean to approach OFM in order to develop and implement strategy to install RCD’s in all R&D laboratories.	0	0	0	
5.

									
6.