Ref	The Hazard
	Consequences of Event Happening
	Initial Risk	Risk Control Plan (short term / long term solution; 
Who & By When)
	Assessment of Risks with Controls	New Level of Risk	
		How Severe	How Likely			How Severe	How Likely		
									
1 

	Area 10   -    E7B Room 156
Trip/Slip/Drop
Book Shelves installed too high on wall and documents / boxes stack too high 	3	2	Low	Remove Shelving 
Relocate documents / equipment to more appropriate storage area	0	0	0	
2.

	Area 10    -   Various E7B Rooms
Trip/Slip/Drop
Exposed cables under desks	1	1	Very Low	Install cable ties where required	0	0	0	
3.

	Various rooms – electrical cable covering need replacing	1	1	Very Low	Organise for CTS to undertake a replacement project	0	0	0	
4.

	Various rooms – trip hazards	2	4	Medium	Review installation practices and use cable ties as appropriate – C Wright to discuss with CTS / C McNaught to discuss with Karl	1	2	Very Low	
5.

									
6.