Area Inspected: Physics Student Offices  Inspection IDs 13, 15, 16, 51, Date  22/11/07  Team:(1) Cathy Wright (2) Carol McNaught  (3) Deslee Whitford


	Ref
	The Hazard


	Consequences of Event Happening


	Initial Risk
	Risk Control Plan (short term / long term solution; 

Who & By When)


	Assessment of Risks with Controls
	New Level of Risk

	
	
	How Severe
	How Likely
	
	
	How Severe
	How Likely
	

	
	
	
	
	
	
	
	
	

	1 


	E7B 234

Hazardous Substance
Isopropyl Alcohol present without chemical register / SWMS
	2
	1
	Very Low
	Remove substance and store in appropriate area with covering chemical register & SWMS.
	0
	0
	0

	3.


	E7B 205,363 – electrical cable covering need replacing
	1
	1
	Very Low
	Organise for CTS to undertake a replacement project
	0
	0
	0

	4.


	E7B 205, 363  – Trip/Slip/Drop from

Exposed cables under desks
	2
	4
	Medium
	Review installation practices and use cable ties as appropriate – C Wright to discuss with CTS / C McNaught to discuss with Karl
	1
	2
	Very Low


Form 3.00 Risk Register 


