Hazard Identification: Physics  Teaching Labs E7B 207-209, 213-215, 217 and 245,248, 251, 254.
Team:

Abhaya Nayak

Steven Xie
Karl Lukezic
Date of Inspection: 7th Feb 2008
The inspection of the Physics Teaching Labs was conducted and the Inspection Pack Work Sheet attached below was used to summarise the hazards found.

Note:  The team would like to draw particular attention to room E7B 214 that functions as Karl’s office. Karl spends a substantial part of his working hours in this room. In the close vicinity of Karl’s chair is a switch-rack that makes a constant humming noise – this noise should be isolated. We are not qualified to judge the health-impact of prolonged exposure to a switch rack at such close proximity, and suggest that expert opinion be sought on it.
This report was prepared by Abhaya Nayak, 7/2/2008.
Amended on 7/5/08

	Ref
	The Hazard


	Consequences of Event Happening


	Initial Risk
	Risk Control Plan (short term / long term solution; 

Who & By When)


	Assessment of Risks with Controls
	New Level of Risk

	
	
	How Severe
	How Likely
	
	
	How Severe
	How Likely
	

	
	
	
	
	
	
	
	
	

	1 


	E7B208: Trip/fall due to broken chairs in room.
	1
	1
	Very low
	Remove/repair broken chairs. Karl to organize by Feb 15.
	 0
	0
	Hazard eliminated

	2.


	E7B208. Trip hazard – broken carpet.
	1
	2
	Very low
	Short term: to be taped. Karl to organize by 22/2
Long term: replace or professionally repair carpet. Karl to organize OFM service request by April 15 
	1

	1

	Very low

Hazard eliminated

	3.


	E7B214: Environmental - noise from switch rack – possible industrial deafness 
	3
	2 or 3
	Low or

medium
	Insulate noise, or relocate rack – Karl to organise OFM service request for sound level test. 
	1

	1

	Very low

Hazard eliminated

	4.


	E7B245: No Exit signage
	1
	1
	very low
	Install two Exit signs.
Kark to organize by Feb 22.
	0
	0
	Hazard eliminated

	5.


	E7B 248: No step ladder to access shelving
	1
	3
	low
	Provide a step-ladder. Peter Browne to organize by June 1. Karl to advise PB
	1
	1
	Very Low

	6.


	E7B 248: 

Laser hazard to eyes – partition is too low

	3
	2
	low
	Increase height of partition to a height more than the eye level. Peter Browne to organize by June 1. Karl to advise PB 
	3
	1
	Low


	Ref
	The Hazard


	Consequences of Event Happening


	Initial Risk
	Risk Control Plan (short term / long term solution; 

Who & By When)


	Assessment of Risks with Controls
	New Level of Risk

	
	
	How Severe
	How Likely
	
	
	How Severe
	How Likely
	

	
	
	
	
	
	
	
	
	

	7


	E7B 248: 

Earth leads constitute a trip hazard
	1
	1
	Very low
	Secure earth leads with tape. Peter Browne to organize by 22/5. Karl to advise PB
	 
	 
	Very low.

	8.


	E7B254: 

Cables stored by hanging on the side of the desk. Trip hazard.
	1
	1
	Very low
	Store cables on containers instead. Peter Browne to organize by 22/5. Karl to advise PB
	
	
	Hazard eliminated

	10.


	E7B260: 

General equipment cupboard has empty chemical bottles. Chemical hazard?
	1
	1
	very low
	Put signage on cupboard door documenting what bottles are to be used/not to be used for OR  that only clean bottles to be stored here. Peter Browne to organize by 22/5
	1
	1
	Very low




