[image: image1.png]



[image: image2.emf]







Faculty of Science
 Appendix VI – Summary of Administrative & 
Procedural Controls for Lasers

	#
	Feature
	Laser Classification

	
	
	1/1M
	2/2M
	3R
	3B
	4

	1
	Standard operating procedures
	N
	N
	N
	S
	R

	2
	Output emission limitations
	N
	N
	LSO
	LSO
	LSO

	3
	Education and training
	N
	S
	S
	R
	R

	4
	Authorised personnel
	N
	N
	N
	R
	R

	5
	Alignment procedures
	N
	R
	R
	R
	R

	6
	Protective equipment
	N
	N
	N
	S
	R

	7
	Service personnel
	∆, MPE
	∆, MPE
	∆, MPE
	R
	R

	8
	Demonstration with general public
	MPE**
	R
	R
	R
	R

	9
	Laser fibre optics systems
	MPE
	MPE
	MPE
	R
	R

	10
	Eye protection
	N
	N
	N
	S, MPE
	R, MPE

	11
	Protective windows
	N
	N
	N
	R, RA
	R, RA

	12
	Protective barriers and curtains
	N
	N
	N
	S
	S

	13
	Skin protection
	N
	N
	N
	R, MPE
	R, MPE

	14
	Other protective equipment
	LSO
	LSO
	LSO
	LSO
	LSO

	15
	Warning signs and labels
	S
	S
	S
	R
	R

	16
	Service and repairs
	LSO
	LSO
	LSO
	LSO
	LSO

	17
	Modification of laser systems
	LSO
	LSO
	LSO
	LSO
	LSO


Legend: 
R – Required


S – Should


N – No requirement

∆ – Shall if embedded Class 3b or Class 4


MPE – Shall if MPE is exceeded


RA – Risk assessment required


LSO – Laser Safety Officer determination

** – Applicable only to UV and IR lasers
2nd September 2015

Page 1 of 1

