Ref	The Hazard
	Consequences of Event Happening
	Initial Risk	Risk Control Plan (short term / long term solution; 
Who & By When)
	Assessment of Risks with Controls	New Level of Risk	
		How Severe	How Likely			How Severe	How Likely		
									
1 

	E7B – 201
No emergency lighting or door signage present.	2	2	Low	OFM to review emergency lighting and signage in laboratory and advise.

Dean to allocate resources if required	0	0	0	
2.

	E7B – 201
Air Conditioning Unit not operating.	2	2	Low	D Kane to ask C McNaught to submit work request to OFM to investigate and repair.	0	0	0	
3.

	E7B – 201
Issue with room security – not a unique key.	1	3	Low	D Kane to review needs with L Kerr and implement strategy	0	0	0	
4.

									
5.

									
6.