Ref	The Hazard
	Consequences of Event Happening
	Initial Risk	Risk Control Plan (short term / long term solution; 
Who & By When)
	Assessment of Risks with Controls	New Level of Risk	
		How Severe	How Likely			How Severe	How Likely		
									
1 

	E7B – 231
No emergency lighting or door signage present.	2	2	Low	OFM to review emergency lighting and signage in laboratory and advise.

Dean to allocate resources if required	0	0	0	
2.

	E7B – 231
Door Security – no control of access to area	2	2	Low	D Kane to review with L Kerr to develop strategy to improve lab security.	0	0	0	
3.

									
4.

									
5.

									
6.