Ref	The Hazard
	Consequences of Event Happening
	Initial Risk	Risk Control Plan (short term / long term solution; 
Who & By When)
	Assessment of Risks with Controls	New Level of Risk	
		How Severe	How Likely			How Severe	How Likely		
									
1 

	E7B – 323
Water pipes in access corridor to LMS lab – trip hazard.	2	2	Low	R Carman to ask MET to reposition pipes.	0	0	0	
2.

	E7B – 323
No emergency exit sign / lighting.	2	2	Low	OFM to review emergency exit signage / lighting and advise.

Dean to approve resources if required.	0	0	0	
3.

	E7B – 323
Gas cylinders need to be secured with chains	2	2	Low	R Carman to ensure all gas cylinders are secured	0	0	0	
4.

	E7B – 323
Issue with room security – not a unique key.	2	2	Low	R Carman to develop key strategy with L Kerr and implement.	0	0	0	
5.

	E7B – 323
Warning lights not working	2	2	Low	R Carman to ask METS to investigate and repair.	0	0	0	
6.